## Slide 1
Figure S1
1
2
3
4
OptoPlateToNunc265300_BottomHalf
Diffuser sheets (Rosco, #3008)
OptoPlateToNunc265300_Tophalf
OptoPlateToNunc265300_Top

## Slide 2
Checker 1
Left LEDs
Checker 1
Right LEDs
Checker 2
Right LEDs
Checker 2
Left LEDs
Measure LEDs
Analyze measurements
Flash updated calibration values
Flash initial calibration values
Calibrated?
Mount light sensor to microscope
Mount optoPlate to microscope
Start
End
Figure S2

## Slide 3
Figure S3
2
1
3
4
Thorlabs S120VC optical power meter mounted between the upper and lower optical power sensor adapters. Shown on its own (A) and mounted to the objective turret of a microscope (B)
Thorlabs PM100D records irradiance measurements
optoPlate mounted to a Nunc 96 well plate optical bottom plate atop a programmable microscope stage via the optoPlate-to-Nunc adapter and with the secondary optoPlate-to-Nunc adapter (to mount the optoPlate upside-down)
Microscope with programmable stage used to raster the optical power sensor across the optoPlate LEDs
1
A
B